Energy Conservation & Building Standards

In attendance:

- Brian Deal

- Claire McConnell

- Dhara Patel

- Karl Helmink

- Scott Willenbrock

Discussion points:

- Get rid of LEED standards; should be more aggressive with goals

  - Set standard at net-zero

- Create a 5-year plan to implement decentralized energy billing at the college level

  - Individual buildings don’t have complete control over costs (freezing pipes)

  - Will lead to behavioral changes

  - But can’t monitor individuals’ electricity bills

  - There exists an energy use difference between departments

  - Initiate a move to occupancy sensors

- Figure out a way to incentivize the campus to save energy

  - Big motivator is money

- Don’t want to give up space “just in case” we need it in the future

  - Have to be practical

  - Associate Director for Space Analysis:  Jill Maxey

- Can’t manage central systems as well as we can air-source heat pumps

  - Consider life of equipment, cost, and other aspects

- Automate fume hoods

Notes:

- Suggestions for iCAP revision due 10/22