SWATeam Meeting

Location: NSRC Room 358

Date: November 4th, 2016 at 4:00 p.m.

Members Present: Arthur Schmidt, Keith Erickson, Nandakishore Rajapolan, John Berens, Rabin Bhattarai, Carley Meeks

Minutes:

- green facilities standards

  - standards that apply to water are on the Water team's box account

  - documents:

    - water distribution systems

    - storm water drainage systems

    - sanitary sewer systems

    - irrigation systems

    - storm sewage systems

    - plumbing equipment insulation

- SWATeam recommendations:

  - BIF gray water metering

    - recommend that water use in the BIF me monitored continuously

    - both total water and amount used by the raw water system should be measured

    - make data available

    - try to get monitoring as soon as possible to quantify it is worthwhile

    - data put on energy dashboard

      - water use

      - potential for saving from raw water use

    - review of draft recommendation

      - specific actions

        - clarify the middle paragraph

      - cost: low compared to Design Center recommendation costs

  - draft recommendation for Design Center

    - recommend infrastructure be put in place for raw water piping

    - design alternative if enough funding

    - recommend that they build infrastructure for future use

    - potential and opportunity

    - investment for future

    - not that much more to add piping

    - water rates are unknown

    - Impossible to put piping in once building is finished

    - positions us to better handle the future

  - Last springs studies

    - Prioritize

    - Cooling water in best shape

    - Talk about next week

- Facilities Standards

  - change to become more sustainable

  - low flow fixtures

DRAFT OF RECOMMENDATION

SWATeam Recommendation

Name of SWATeam: Water and Stormwater

SWATeam Chair: Art Schmidt			Date Submitted to iSEE:

Specific Actions/Policy Recommended (a few sentences):

Monitoring the water usage in the Business Instructional Facility (BIF).  Specifically, both the total water use and the amount of water used by the raw water system should be measured and the data made available to the campus community.

BIF is unique in that it was constructed with a separate raw water system that conveys non-potable water to be used for purposes such as flushing toilets.  While the system is in place inside the building, it was never connected to an outside source of non-potable water.  Use of non-potable water for purposes such as toilet flushing, landscape irrigation, cooling, etc. is recognized as a sustainable practice (e.g., Asano et al, 2007; EPA, 2012).  Data to quantify the impact this could have on water use at UIUC, however, is largely unavailable.  Metering the raw water system at BIF would provide data about the temporal total and non-potable water demand at a typical campus class/office building.  These data would be valuable to consider whether such systems should be considered in future campus construction and renovation.

F&S installed a temporary meter to measure the flow to the raw water system and operated this meter for approximately one month (from __/__/201_ to __/__/201_), so this recommendation has already been demonstrated to be feasible.  However, because building usage is highly variable over the course of an academic year, we recommend that this should be a permanent installation.  We also recommend that the data be made available to the campus community to encourage consideration of such water reuse options

Rationale for Recommendation (a few sentences):

Based on this information, further studies or projects could be implemented to examine the feasibility and costs and benefits of using recycled water for non-potable uses.

Connection to iCAP Goals (a few sentences):

Obtain and publicize more granular water use data by FY16, including water quantity and quality data where available.

Perceived Challenges (a few sentences):

Suggested unit/department to address implementation:

Anticipated level of budget and/or policy impact (low, medium, high): ______________

Individual comments are required from each SWATeam member (can be brief, if member fully agrees):

| Team Member Name | Team Member’s Comments |
| --- | --- |
| David Douglas |  |
| Keith Erickson |  |
| John Berens |  |
| N Rajagopalan |  |
| Rabin Bhattarai |  |
| Art Schmidt |  |

Comments from Consultation Group (if any; these can be anonymous):

Explanation and Background (can be supplied in an attachment):