- Report from Karl on projects he has been working on:

- Enterprise Works - proposed revolving loan project.  Awaiting departmental funding of $350K to complete project.

- The payback is achievable after 6 years. Fume hoods help to reduce utility cost. There are 25 fume hoods located at the South-West of the campus (aged from 2000 year).

- Memorial Stadium RCx work - This appears to be getting $500K in funding.

- RCx work will occur on the West side of the building.

- Highlight-there will be $250,000/year savings. About a 2-year payback. We have avoided over $80K in utility costs in 3 months.

- Karl stated that we finally got there-29% reduction of energy in this building. He also said that they achieved it by changed schedule of the building, occupancy, wait rooms, etc.

- National Soybean Research space walk preview.

- Karl, Yun, Marian, Paul are walking the NSRC with Scott W, Doug Walters, Darren Gesling on April 17 to review how space is being used (or not used).

- How are decisions about lab space made?

- Fred said that it starts from need. Feasibility study going in another, highly technical building.

- Discussion on LEED requirements as iCAP goal:

- Fred presented a spread sheet that shows that the campus is meeting or exceeding many energy efficiency standards.  In fact, we are achieving LEED Gold in some cases. UIUC adheres to LEED Silver standards.  People tend to look to LEED as the primary standard.  LEED includes many areas not related to energy, such as pollution protection, storm water, refrigerators, policy storage and collection, research, energy farm (solar panels)-all with a purpose to achieve LEED Gold.

- Fred that the possible solution could be deemphasize LEED.

- Fred said it is possible to do shading of parking lots, restoring habitat, using “green” material.

- Marian asked if our SWATeam needs to recommend to find alternative to LEED Standard? Is there a need to develop communication that explains how UIUC buildings are meeting or exceeding even LEED Gold?

- If we drop the LEED-we will overcome its limitations, so the occupants will not suffer. We want to go further-to have standards better and better.

- Should we develop our own system of standards that includes ASHRAE, LEED and others?

- Yun said that it will be a combination of compressed things. LEED is a global, generalized system. LEED is not localized. So we can create our own model or tool.

- BREEAM is a European model, analog of LEED.

- Marian said that this idea can be included in our discussions with Scott.

- BIF lighting follow up

- A good example of cutting edge technology that is maintenance-intensive.

- Karl checked with BIF building supervisors about why so many lights remain on at night in office hallways. Lights in most of the BIF office areas should turn off at 10 pm.  But, some of the systems are not functioning correctly to reach intended energy conservation.

- Final planning for ILO on Friday, April 14

- Alex said that he worries about the registration form. People don’t put their names while signing up. We should check with Olivia H about changing the form to make sign up closer to the announcement.

- Overall, 30-40 people have said they were going or interested on FB, -but only 3 forms were filled up for Friday.

- Morgan suggested to ask to participate other SWATeams. Marian to write email to other SWATeams.

- Updates:

- Eco-Olympics

- Paul said that this year 160 people are participating. Previous year only 30 people participated, before last year-68 people.

- Paul noticed that there is a prize for a winner $200-500. The whole points will be given for each person. There are a lot of dedicated teams.

- Nugent Hall will be used for entire competition- 3,000K compare to the baseline (we consume more than we supposed to).

- Paul sent many specific messages with short suggestions to each building, like “turn your AC off!”. He also noticed that it is all about behavior, culture change.

- Paul also said that it is possible to push individual buildings towards saving more energy.

- Recommendation for ILO continuation submitted by Marian

- Green Labs Coordinator position

- Several from iWG plus, Scott W, will speak Evan DeLucia about supporting this position.

6) SWATeam next meeting time and date:  April 27th, from 3:30 to 5 pm.