eGen SWATeam Meeting 04

November 15th, 2018

8am-9am

NSRC 358

Attendees: Mike Larson, Tim Mies, Andrew Stumpf, Yu-Feng Lin, Taylor Holin (clerk)

- Approval of last meeting’s minutes

- Discussion of Groundwater and Geothermal Resources Summit (Yu-Feng Lin)

  - Successful event

  - Allowed for good collaboration with other experts and ideas for research

- Discussion of the joint eGen and ECBS meeting (after break)

  - Poll sent out to schedule, will be within the first two weeks back from break (ttps://www.when2meet.com/?7301507-134iW)

  - Discussed possibility of inviting outside guests to discuss geothermal ideas -- approved

- Discussed upcoming and potential projects

  - Geothermal for the new Engineering building

  - Geothermal under the Engineering Quad for surrounding buildings

  - Geothermal in greenhouses

- Discussed DOE team and their upcoming trip to Cornell University

  - Will be a huge benefit for UIUC

  - They’re the leaders of the east coast for geothermal energy

  - Team will see what they’ve been doing and hopefully adopt those practices to use with our systems

  - They may visit UIUC in the future for further assistance/collaboration

  - Currently, there is no leader in geothermal in the midwest. This may help us take an important step towards becoming one

- Discussion on understanding geology of areas before geothermal systems can be put into place

  - Taking core samples - creating bore holes and studying the properties within them, putting fiber optics in the bore hole to get and start marking temperatures (Andrew Stumpf)

    - Used as the foundation for the system, built off information that is gathered

    - Provides a better starting point for system

    - This allows us to anticipate problems before they would come up

  - Core analysis needed by December for the Engineering building

    - Will be completed by then

  - Looking at other systems that have worked and haven’t worked and applying information to ours to make it the best it can be

- Discussion of creating a campus-wide Geothermal Master Plan

  - Currently there is no Geothermal Master Plan for the campus

  - If we want more geothermal, there should be a plan like this put into place

  - Would need help and input from other SWATeams if this were to be created

  - There is a geothermal subcategory within the Campus Utility Master Plan, but is this enough? Should it be separated?

  - Issues to discuss within and for the plan (Mike Larson)

    - New buildings

      - Justifying that they make sense, are worth it

      - Figuring out the worth of hot water systems (vs. steam)

    - Retrofitting old buildings to fit them for centralized geothermal systems

      - Cost and worth

    - Old buildings that are steam need to be completely redone

      - Cost and worth

      - Changing from steam to hot water is incredibly expensive (millions and millions of dollars), and would require the entire building to be redone

    - Marking which buildings are hot water and which ones are steam

    - Core drilling and creating permanent data stations for constant data to survey which areas are the best and not the best for geothermal systems

      - Currently there are two locations, we may need more

      - Cost and worth

      - Make a proposal to SSC to drill more sites?

    - Identifying where the money for these projects would come from

    - Guidelines

- Next meeting

  - Second week back from break

- Adjournment - Have a good break!