## Extrapolation
Average GSF for all buildings | Avg # LEDs per GSF | Total # of buildings/sites | Avg. Cost for replacing one LED | Avg. # of LEDs per building | Avg. cost for one building | Cost for all the buildings
45190 | 0.00033015 | 452 | 198 | 14.9197 | 2954.0971 | 1335251.9069
Assumptions:
1 | number of fixtures are uniform for all the buildings across the campus
2 | The average cost of replacing one LED fixture is $198.
3 | Average number of LEDs per GSF obtained using only the buildings completed in FY14 and FY15.
4 | Average number of LED fixtures obtained using only data from FY14 and FY15.

## GSF data
Buidling ID | Building Name | Gross Square Footage | Average GSF | Anticipated # of LEDs | Anticipated Total LEDs | Ave cost per LED | Anticipated Total Cost
1 | Davenport Hall | 110942.71 | 45190 | 36.6282 | 6743.6616 | 198 | 1335244.9952
2 | Art-East Annex, Studio 2 | 12182.25 |  | 4.022
3 | McKinley Health Center | 84225.17 |  | 27.8073 |  |  | Round UP
4 | Harding Band Building | 27839.92 |  | 9.1915 |  |  | 1500000
5 | Gym Annex | 28078.16 |  | 9.2701
6 | Armory | 258510.39 |  | 85.3484
7 | Foellinger Auditorium | 51765.43 |  | 17.0906
8 | Agricultural Engr Sciences Bldg | 106018.58 |  | 35.0025
10 | Chemistry Annex | 42466.19 |  | 14.0204
11 | Ceramics Kiln House | 15696.57 |  | 5.1823
12 | Noyes Laboratory of Chemistry | 184710.82 |  | 60.9831
13 | Talbot Laboratory | 110528.92 |  | 36.4916
14 | Ice Arena | 51675.57 |  | 17.0609
15 | Engineering Hall | 93188.56 |  | 30.7666
17 | Advanced Computation Bldg | 45345.67 |  | 14.9711
18 | Art-East Annex, Studio 1 | 47540.82 |  | 15.6958
20 | Physiology Research Laboratory | 4864.72 |  | 1.6061
21 | Kenney Gymnasium | 49507.39 |  | 16.3451
23 | Illini Union | 305130.4 |  | 100.7402
24 | Newmark Civil Engineering Building | 208958.94 |  | 68.9887
25 | Harker Hall | 33188.72 |  | 10.9574
26 | Altgeld Hall | 79720.53 |  | 26.3201
27 | Lincoln Hall | 175835.89 |  | 58.053
28 | Aeronautical Laboratory A | 10442.56 |  | 3.4477
29 | Mechanical Engineering Laboratory | 151859.99 |  | 50.1373
32 | Natural History Building | 153283.67 |  | 50.6073
33 | Observatory | 12528.16 |  | 4.1362
34 | Materials Science and Eng Bldg | 101802.65 |  | 33.6106
37 | Everitt Elec & Comp Engr Lab | 124246.05 |  | 41.0204
39 | Music Building | 105343.31 |  | 34.7796
40 | Stock Pavilion | 43547.28 |  | 14.3773
41 | Library | 562532.01 |  | 185.7225
42 | Transportation Building | 51445.1 |  | 16.9848
43 | Gregory Hall | 110043.63 |  | 36.3314
44 | English Building | 121012.56 |  | 39.9528
46 | Henry Administration Building | 160497.37 |  | 52.9889
48 | Nuclear Radiation Laboratory | 9413.04 |  | 3.1078
50 | Architecture Building | 73845.43 |  | 24.3804
52 | Krannert Center for Performing Arts | 499644.4 |  | 164.9599
54 | David Kinley Hall | 80589.95 |  | 26.6071
55 | Ceramics Building | 54016.92 |  | 17.8339
56 | Shelford Vivarium | 24277.89 |  | 8.0155
58 | Huff Hall | 182536.38 |  | 60.2652
59 | Surveying Building | 15024 |  | 4.9602
60 | Smith Memorial Hall | 76307.16 |  | 25.1932
61 | University High School | 53112.85 |  | 17.5354
62 | Child Development Laboratory | 29743.88 |  | 9.8201
63 | University High School Gymnasium | 5984.96 |  | 1.976
64 | Freer Hall | 93889.79 |  | 30.9981
65 | Illini Hall | 49753.44 |  | 16.4263
66 | Seitz Materials Research Lab | 123151.38 |  | 40.659
67 | Loomis Laboratory of Physics | 175513.1 |  | 57.9464
68 | Horticulture Field Laboratory | 46556.54 |  | 15.3709
69 | Mumford Hall | 100150.54 |  | 33.0652
70 | Chemical & Life Sciences Laboratory | 231315.61 |  | 76.3699
71 | Student Services Arcade Building | 27525.07 |  | 9.0875
72 | Memorial Stadium | 771827.95 |  | 254.8225
73 | Agricultural Bioprocess Lab | 24280.69 |  | 8.0164
74 | Inst Gov & Public Affairs Bldg | 13525.55 |  | 4.4655
75 | Children's Research Center | 46805.88 |  | 15.4532
76 | Psychology Laboratory | 154523.43 |  | 51.0166
77 | Plant Services Building-Northeast | 6315 |  | 2.0849
78 | Snyder Hall | 91361.23 |  | 30.1633
79 | Scott Hall | 90853.8 |  | 29.9958
80 | Weston Hall | 90900.05 |  | 30.0111
84 | Hopkins Hall | 83827.03 |  | 27.6759
86 | Lundgren Hall | 28873.26 |  | 9.5326
87 | Clark Hall | 40265.94 |  | 13.294
88 | Barton Hall | 28255.28 |  | 9.3286
89 | Flagg Hall | 46933.06 |  | 15.4952
90 | Noble Hall | 34097.74 |  | 11.2575
91 | Van Doren Hall | 37529.2 |  | 12.3904
92 | Taft Hall | 45315.98 |  | 14.9613
94 | Alice Campbell Alumni Center | 68859.42 |  | 22.7342
95 | Superconductivity Center | 34080.56 |  | 11.2519
97 | C-7 Parking Structure, Student Staff | 115222 |  | 38.0411
99 | Undergraduate Library | 95905.7 |  | 31.6637
100 | President's House | 18228.67 |  | 6.0183
101 | Blaisdell Hall | 55748.83 |  | 18.4057
102 | Saunders Hall | 53318.67 |  | 17.6034
103 | Babcock Hall | 53308.98 |  | 17.6002
104 | Carr Hall | 53296.12 |  | 17.596
105 | Pennsylvania Lounge Building | 50927.66 |  | 16.814
106 | Illini Union Bookstore | 96407.04 |  | 31.8292
108 | Computing Applications Building | 41970.23 |  | 13.8567
109 | Natural Resources Building | 140587.36 |  | 46.4156
110 | Nuclear Physics Laboratory | 36604.89 |  | 12.0853
111 | Busey Hall | 59347.02 |  | 19.5937
112 | Mechanical Engineering Building | 100518.04 |  | 33.1865
115 | Evans Hall | 53351.67 |  | 17.6143
116 | Roger Adams Laboratory | 268297.2 |  | 88.5795
117 | Nuclear Engineering Laboratory | 17860.83 |  | 5.8968
118 | Activities & Recreation Center | 442235.12 |  | 146.0059
120 | Abbott Power Plant | 194896.03 |  | 64.3458
121 | FSI - Firemanship Training Facilities | 6799.78 |  | 2.245
124 | National Soybean Research Center | 98854.71 |  | 32.6373
125 | Mumford House | 4419.93 |  | 1.4593
126 | Levis Faculty Center | 35912.21 |  | 11.8566
128 | Geological Survey Laboratory | 12938.43 |  | 4.2717
130 | Coble Hall | 27738.07 |  | 9.1578
131 | Turner Hall Greenhouses | 67188.22 |  | 22.1825
133 | Natural Resources Garage | 15527.57 |  | 5.1265
134 | Natural History Survey Greenhouse | 10528 |  | 3.4759
136 | Student-Staff Apts-300 S Goodwin, U | 73070.14 |  | 24.1244
137 | Student Staff Apts #2-Green/Goodwin | 62066.92 |  | 20.4917
138 | Burrill Hall | 171832.06 |  | 56.7311
140 | Illinois Simulator Lab, Beckman Inst. | 16519.5 |  | 5.454
141 | Lincoln Avenue Residence Hall | 150138.56 |  | 49.5689
142 | Allen Residence Hall | 157022.72 |  | 51.8418
143 | 608 S Mathews, Urbana | 6764.71 |  | 2.2334
144 | Dalkey Archive Press (PSSB) | 11100.12 |  | 3.6648
145 | 1205 1/2 W Nevada, Urbana | 5393.77 |  | 1.7808
146 | 1205 W Nevada, Urbana | 4825.15 |  | 1.593
148 | Coordinated Science Laboratory | 124007.78 |  | 40.9417
150 | 1208 W Springfield, Urbana | 4322.84 |  | 1.4272
151 | 1204 W Nevada, Urbana | 4915.55 |  | 1.6229
152 | Civil Engineering Hydrosystems Lab | 31846.65 |  | 10.5143
154 | Personnel Services Building | 15723.7 |  | 5.1913
155 | Volatile Chemical Storage Bldg | 203.44 |  | 0.067167
156 | Law Building | 189729.5 |  | 62.6401
157 | 1201 W Nevada, Urbana | 5978.4 |  | 1.9738
158 | Bevier Hall | 156770.78 |  | 51.7586
159 | Wohlers Hall | 99550.88 |  | 32.8672
160 | Education Building | 94058.82 |  | 31.0539
161 | 1401 S Maryland, Urbana | 5750.24 |  | 1.8985
162 | Engineering Senior Design Lab | 2367.55 |  | 0.78166
163 | Plant Services Storage Building | 2438.21 |  | 0.80499
164 | Structural Warehouse | 1550 |  | 0.51174
165 | Animal Sciences Laboratory | 149211.07 |  | 49.2627
166 | State Farm Center | 315821.3 |  | 104.2698
169 | Burnsides Research Laboratory | 23942.5 |  | 7.9047
170 | Central Receiving Building | 40890.03 |  | 13.5
171 | Meat Science Laboratory | 26276.75 |  | 8.6754
172 | Foreign Languages Building | 117715.01 |  | 38.8641
173 | 708 S Mathews, Urbana | 8294.02 |  | 2.7383
174 | Engineering Sciences Building | 107724.33 |  | 35.5657
176 | Rehabilitation Education Center | 42079.66 |  | 13.8928
178 | Mailing Center-1611 S Oak, Champaign | 9406.61 |  | 3.1056
179 | Illini Grove, Seward Staley | 892 |  | 0.2945
180 | Stu-Staff Air Conditioning Center | 5093 |  | 1.6815
181 | Daniels Hall | 112091.28 |  | 37.0074
183 | Wood Engineering Laboratory | 10324.7 |  | 3.4087
184 | 1208 West Nevada | 3526.8 |  | 1.1644
185 | H P Gas Regulating & Reducing Sta | 182 |  | 0.060088
187 | Entomology Laboratory | 3675 |  | 1.2133
188 | Fred Turner Student Services Bldg | 41264.83 |  | 13.6238
192 | Medical Sciences Building | 114784.1 |  | 37.8965
193 | Swanlund Administration Building | 33805.39 |  | 11.161
194 | USDA Nematology Greenhouse | 3786.63 |  | 1.2502
195 | 1203 W Nevada, Urbana | 8291.56 |  | 2.7375
196 | Optical Physics and Engineering Bldg | 11181.92 |  | 3.6918
197 | Turner Hall | 180003 |  | 59.4288
198 | Physical Plant Service Building | 162882.92 |  | 53.7765
199 | 1001 W Nevada, Urbana | 4559.22 |  | 1.5052
201 | Garage and Car Pool | 27395.21 |  | 9.0447
202 | Horticulture Field Lab Steel Bldg | 7574.45 |  | 2.5007
204 | Hydrogen Liquefier Building | 3601.12 |  | 1.1889
206 | Illinois Sustainable Technology Center | 52887.2 |  | 17.4609
207 | 1203 1/2 W Nevada, Urbana | 2438.33 |  | 0.80503
208 | Atmospheric Sciences Building | 11328.21 |  | 3.7401
209 | Speech and Hearing Clinic | 30211.39 |  | 9.9744
210 | Digital Computer Laboratory | 194280.43 |  | 64.1426
213 | Environ Health & Safety Bldg | 6078.94 |  | 2.007
214 | 911 S Sixth, Champaign | 5177.76 |  | 1.7095
215 | 909 S Sixth, Champaign | 4316.41 |  | 1.4251
217 | Housing Food Stores | 51161.63 |  | 16.8912
218 | School of Labor and Employment Relations | 25257.8 |  | 8.339
219 | Art and Design Building | 75077.33 |  | 24.7871
220 | Krannert Art Museum | 62440.21 |  | 20.6149
222 | Printing & Photographic Serv Bldg | 59376.33 |  | 19.6034
224 | 1205 W Oregon, Urbana | 5839.27 |  | 1.9279
228 | Beckman Institute | 357599.89 |  | 118.0632
230 | Orchard Downs Laundry - North | 1155 |  | 0.38133
232 | North Campus Chiller Plant | 14848 |  | 4.9021
233 | Housing Maintenance Shop | 11630 |  | 3.8397
235 | 512 E Chalmers, Champaign | 2455.13 |  | 0.81057
236 | Orchard Downs Laundry - South | 2628.56 |  | 0.86783
237 | Micro and Nanotechnology Laboratory | 147347.36 |  | 48.6474
238 | 1207 W Oregon, Urbana | 18053.53 |  | 5.9605
242 | Morrill Hall | 170209.67 |  | 56.1955
243 | 508 S Sixth, Champaign | 7613.2 |  | 2.5135
244 | Volatile Storage Building | 1794 |  | 0.5923
245 | 205 S Goodwin, Urbana | 2207.25 |  | 0.72873
249 | Orchard Downs Community Building | 3071.3 |  | 1.014
250 | 912 S Fifth, Champaign | 3772.88 |  | 1.2456
252 | Housing Warehouse | 14598.16 |  | 4.8196
255 | University Press Building | 34293.83 |  | 11.3223
256 | Plant Sciences Laboratory | 100847.69 |  | 33.2953
257 | Richard T. Ubben Basketball Complex | 39066.6 |  | 12.898
258 | 909 W Nevada, Urbana | 2979.86 |  | 0.98381
262 | 510 E Chalmers, Champaign | 2533.67 |  | 0.8365
267 | 408 S Goodwin, Urbana | 8516.78 |  | 2.8119
268 | Dance Studio | 7591.88 |  | 2.5065
270 | Waste Transfer & Mat. Recovery Facility | 17944.57 |  | 5.9245
272 | Wardall Hall - ISRH - Women's Bldg | 112615.66 |  | 37.1806
273 | Townsend Hall - ISRH - Men's Bldg | 110266.06 |  | 36.4048
274 | Lounge Building - ISRH | 26339.91 |  | 8.6962
275 | Food Service Building - ISRH | 48015.44 |  | 15.8525
276 | Library Air Conditioning Center | 4311.49 |  | 1.4235
278 | 1210 W Springfield, Urbana | 5822.08 |  | 1.9222
280 | Credit Union Building, UofI Employee | 8553.87 |  | 2.8241
281 | Admin Information Technology Bldg | 32094.64 |  | 10.5962
283 | Driver Training Facility | 4939.33 |  | 1.6307
285 | 912 W Illinois, Urbana | 5059 |  | 1.6703
287 | Clinical Skills Learning Center | 17884.62 |  | 5.9047
288 | Physics Research Lab Storage Bldg | 2400 |  | 0.79237
289 | Water Survey Research Center Grounds | 10923.1 |  | 3.6063
290 | FSI - Fire Station | 7041.71 |  | 2.3249
291 | Sherman Hall - Single Grad Housing | 112080.67 |  | 37.0039
292 | Veterinary Teaching Hospital | 233702.78 |  | 77.158
294 | FSI - Classroom/Off | 11055 |  | 3.6499
295 | Trelease Hall - FARH - Women's Bldg | 116480.35 |  | 38.4565
296 | Oglesby Hall - FARH - Men's Bldg | 115811.9 |  | 38.2358
297 | Food Service Building - FARH | 81998.38 |  | 27.0721
298 | Physical Plant Storage Building "A" | 12288.25 |  | 4.057
300 | Astronomy Building | 19168.79 |  | 6.3287
302 | Driver Training Site Storage Bldg | 614.25 |  | 0.2028
303 | Play Field Service Building | 684 |  | 0.22583
304 | Track Stadium | 832 |  | 0.27469
304 | Track Stadium | 832 |  | 0.27469
304 | Track Stadium | 832 |  | 0.27469
304 | Track Stadium | 832 |  | 0.27469
304 | Track Stadium | 832 |  | 0.27469
305 | Clay Hydrology Laboratory | 2844.33 |  | 0.93907
306 | Building Research Council Building | 8152.8 |  | 2.6917
307 | Biological Control Laboratory | 3761.76 |  | 1.242
309 | Natural History Survey Storage B #4 | 3982 |  | 1.3147
311 | Natural History Survey Storage B #3 | 3548.51 |  | 1.1716
312 | Natural History Survey Storage B #2 | 3346 |  | 1.1047
313 | Natural History Survey Storage B #1 | 3881.85 |  | 1.2816
314 | Building Research Council Laboratory | 1221.33 |  | 0.40323
315 | Shop and Equipment Building | 5332.96 |  | 1.7607
316 | Illinois Field | 1153.33 |  | 0.38078
319 | Engineering Senior Design Lab Annex | 1320.11 |  | 0.43584
321 | Natural Resource Studies Annex | 65415.7 |  | 21.5973
323 | Public Safety Building | 20729.24 |  | 6.8439
324 | Grainger Engineering Library | 126838.23 |  | 41.8762
325 | Natural History Survey Storage B #5 | 4870 |  | 1.6079
326 | Agriculture Services Building | 9595 |  | 3.1678
327 | South Studio 2 (Sculpture Building) | 6408.77 |  | 2.1159
328 | South Studio 1 (Art Studio) | 3296 |  | 1.0882
329 | Agriculture Services Warehouse | 5102.16 |  | 1.6845
330 | Anthropology Storage Building | 4813.81 |  | 1.5893
331 | Library and Information Science Bldg | 51375.75 |  | 16.9619
336 | Madigan Laboratory, Edward R | 171007.02 |  | 56.4587
337 | Paleobotanical Building | 3872.06 |  | 1.2784
338 | South Studio 3 (Glass Sculpture Building | 4183.33 |  | 1.3811
339 | Temple Hoyne Buell Hall | 94194.94 |  | 31.0989
341 | Vet Med Feed Storage Building | 10100 |  | 3.3346
343 | Telecommunications Node #1 | 1980.84 |  | 0.65398
344 | Building Research Laboratory | 1455.36 |  | 0.48049
347 | Motorcycle Safety Office | 3822.77 |  | 1.2621
350 | Vet Med Basic Sciences Building | 259412.56 |  | 85.6462
352 | Veterinary Medicine Chiller Plant | 23088 |  | 7.6226
354 | Japan House | 3224.42 |  | 1.0646
358 | 1004 S Fourth, C-Police Training Ins | 26856.35 |  | 8.8667
360 | Atkins Tennis Center | 68811.82 |  | 22.7185
362 | 510 E Daniel, Champaign | 3345.39 |  | 1.1045
364 | Campus Recreation Center - East | 104575.49 |  | 34.5261
365 | 907 1/2 W Nevada, Urbana | 4707 |  | 1.554
366 | South Studio 4 (Ceramics Facility) | 4992 |  | 1.6481
367 | 901 W Oregon, Urbana | 6328.66 |  | 2.0894
369 | International Studies Building | 24473.4 |  | 8.08
370 | South Studio 5 (Graduate Photography) | 4992 |  | 1.6481
371 | South Studio 7 (General Arts Building) | 4992 |  | 1.6481
372 | Special Materials Storage Facility | 11659.78 |  | 3.8495
373 | Spurlock Museum | 53921.69 |  | 17.8025
374 | HARTLEY GARDENS (NONE) | 0 |  | 0
375 | South Studio 6 (Graduate Painting Fac.) | 5018 |  | 1.6567
376 | Campbell Hall | 40731.19 |  | 13.4476
377 | ACES Library, Info. & Alumni Center | 82742.24 |  | 27.3177
378 | Admissions and Records Building | 32929.77 |  | 10.8719
379 | Bielfeldt Athletic Administration Bl | 40084.16 |  | 13.234
380 | Bruce D. Nesbitt African American Cultural Center | 6533.44 |  | 2.157
381 | Irwin Academic Service Center | 25239.4 |  | 8.3329
395 | Orchard Downs Sewage Lift Station | 373 |  | 0.12315
396 | Fuel Oil Storage Tanks | 0 |  | 0
407 | Irwin Indoor Football Facility | 75930.86 |  | 25.0689
409 | Electrical and Computer Engineering | 0 |  | 0
506 | 909 W Oregon, Urbana | 11145 |  | 3.6796
551 | Richmond Studio | 2980.77 |  | 0.98411
554 | WILL TV Tower | 1941.33 |  | 0.64094
556 | Fire Sub Station | 11464.27 |  | 3.785
557 | F-29 Parking Deck | 253668.76 |  | 83.7499
560 | EICHELBERGER FIELD (NONE) | 782.22 |  | 0.25825
563 | Siebel Center for Computer Science | 266825.42 |  | 88.0936
564 | Nat Center for Supercomp Appl | 141708.47 |  | 46.7857
568 | 1206 W. Nevada | 2119.45 |  | 0.69975
777 | Orchard Downs Apartments | 0 |  | 0
815 | Feed Storage Plant | 9573.74 |  | 3.1608
816 | Concrete Block Feed Storage | 2331.65 |  | 0.7698
821 | Scale House | 1500 |  | 0.49523
824 | Agronomy South Farms Lab | 6300 |  | 2.08
828 | Animal Sci Shop & Stor-Horse Farm | 9213.2 |  | 3.0418
829 | Pole Frame Horse Barn | 3024 |  | 0.99839
831 | Animal Science K40 Facility | 12314.66 |  | 4.0657
833 | Animal Sci Farm Equipment Stor Unit | 2944 |  | 0.97197
834 | Animal Sci Isolation Unit | 765.33 |  | 0.25268
836 | Equine Research Barn | 3478.42 |  | 1.1484
837 | Pesticide Storage | 1280 |  | 0.4226
838 | Machinery Storage Bldg-Agron Farm | 7776 |  | 2.5673
839 | Machinery & Equip Stor Shed - Agron | 1600 |  | 0.52825
840 | Agronomy Department Barn | 5040 |  | 1.664
842 | Agronomy Seed House | 13215.95 |  | 4.3633
844 | Agronomy Drying Shed | 1020 |  | 0.33676
845 | Sheet Metal Barn | 1920 |  | 0.6339
846 | Sheet Metal Barn - USDA | 2712.42 |  | 0.89552
847 | Sheet Metal Barn - SSSS - Agronomy | 1920 |  | 0.6339
848 | Sheet Metal Barn - Weed Lab - USDA | 2048 |  | 0.67616
849 | Sheet Metal Barn - Agronomy | 2112 |  | 0.69729
851 | Rain Drop Tower Building - Agronomy | 320 |  | 0.10565
852 | Grain Drying Building - Agronomy | 547.78 |  | 0.18085
853 | USDA Growth Chamber Building | 5157.7 |  | 1.7028
854 | Machine Storage Building | 5302 |  | 1.7505
855 | Dairy Experimental Round Barns | 11336 |  | 3.7426
856 | Dairy Experimental Round Barns | 7895.5 |  | 2.6067
857 | Dairy Experimental Round Barns | 14996 |  | 4.951
858 | 1101 West St Mary's Road, U | 2218.73 |  | 0.73252
860 | New Calf Barn - Round Barns | 721.33 |  | 0.23815
861 | Brick Garage Lab - Round Barns | 4408.88 |  | 1.4556
879 | Food Stor Shed-Hort Field Lab | 400 |  | 0.13206
881 | Grounds Storage Barn | 6806.25 |  | 2.2471
884 | Pollinatarium | 1940 |  | 0.6405
885 | Horticulture Field Research Lab | 8960 |  | 2.9582
886 | Woody Ornamentals Greenhouse | 2976 |  | 0.98254
888 | Animal Research Barn-Physl Res Lab | 2628 |  | 0.86765
889 | Animal Genetics Pole Barn Storage | 2560 |  | 0.8452
891 | Physiology Res Lab-Garage West | 400 |  | 0.13206
899 | Moorman Res Farm-Physiology Barn 2 | 2628 |  | 0.86765
900 | Moorman Res Farm-Physiology Barn 1 | 3492 |  | 1.1529
912 | Imported Swine Research Laboratory | 20678.42 |  | 6.8271
919 | Machine Shed-Lincoln Ave Dairy | 2979.33 |  | 0.98364
920 | New Calf Barn-Lincoln Ave Dairy | 3733.33 |  | 1.2326
921 | New Bull Barn-Lincoln Ave Dairy | 3093.88 |  | 1.0215
924 | Dairy Herdsman's Cottage-L Ave Dairy | 2720 |  | 0.89802
925 | South Barn and Calf House-LAD | 8555.63 |  | 2.8247
926 | North Barn and Milk House-LAD | 5173.5 |  | 1.7081
927 | Loafing Barn-Dairy Cat Mech Ctr-LAD | 1152 |  | 0.38034
928 | Shop and Storage Building-LAD | 4980.52 |  | 1.6443
929 | "T" Loafing Barn-Lincoln Ave Dairy | 1440 |  | 0.47542
931 | Agronomy Field Laboratory-USDA | 370 |  | 0.12216
934 | Milking Parlor-Lincoln Ave Dairy | 3571.94 |  | 1.1793
935 | Food Science Dry Processing Lab | 4992 |  | 1.6481
937 | Feed Mixing Barn-Lincoln Ave Dairy | 1028 |  | 0.3394
938 | Milking Parlor-Lincoln Ave Dairy | 3471.41 |  | 1.1461
939 | Dairy Free Stall Barn-LAD | 1920.11 |  | 0.63393
972 | Free Stall Barn-Lincoln Ave Dairy | 2104.08 |  | 0.69467
991 | Soybean Research - Agronomy Farm | 9480.62 |  | 3.1301
996 | Dry Cow Free - Stall Barn | 1600 |  | 0.52825
997 | Heifer Shed - Lincoln Avenue Dairy | 1920 |  | 0.6339
998 | Solids Separation Unit - LAD | 558 |  | 0.18423
999 | Free Stall Pole Building - LAD | 3952 |  | 1.3048
1000 | Supervisor's Residence - Beef | 1680 |  | 0.55466
1003 | Acid Rain Field Building | 560 |  | 0.18489
1017 | Agricultural/PPFM Warehouse Stor A | 9240 |  | 3.0506
1018 | Engineering Warehouse Stor B | 9120 |  | 3.011
1019 | Engineering Warehouse Stor C | 9120 |  | 3.011
1020 | Electrical Eng Stor Bldg | 2560 |  | 0.8452
1021 | Implement Storage Bldg-LAD | 3520 |  | 1.1621
1023 | Feed Loading-Lincoln Ave Dairy | 2066.45 |  | 0.68225
1024 | Large Heifer Rearing-LAD | 4638.13 |  | 1.5313
1025 | Small Heifer Rearing-LAD | 5424 |  | 1.7908
1026 | Water Survey Warehouse | 5209.34 |  | 1.7199
1037 | Metal Storage Building | 11192.18 |  | 3.6951
1039 | Core Storage Building | 5760 |  | 1.9017
1040 | O&M Storage Building | 2613.79 |  | 0.86295
1041 | Agriculture Storage Building | 3466.5 |  | 1.1445
1044 | Commodities Storage Building | 1946.39 |  | 0.64261
1048 | Pest Management Laboratory | 3432.82 |  | 1.1334
1060 | Horse Receiving Barn | 3744 |  | 1.2361
1071 | Early Child Development Lab | 23182.27 |  | 7.6537
1073 | Forbes Natural History Building | 65151.45 |  | 21.51
1078 | PLAYFIELD FACILITY | 0 |  | 0
1079 | Illini Union Warehouse #2 | 21582.81 |  | 7.1257
1080 | Institute for Genomic Biology | 219788.81 |  | 72.5643
1080 | Institute for Genomic Biology | 219788.81 |  | 72.5643
1088 | Dairy Free Stall Barn | 7800 |  | 2.5752
1093 | Aerodynamics Research Laboratory | 6936 |  | 2.29
1094 | North Campus Parking Deck | 521440.81 |  | 172.156
1095 | Enterprise Works @ Illinois | 57255.69 |  | 18.9032
1096 | Oak Street Library Facility | 51308.33 |  | 16.9397
1104 | Water Survey Research Center #1 | 10403.8 |  | 3.4349
1105 | Water Survey Research Center #2 | 240 |  | 0.079237
1106 | Water Survey Research Center #3 | 8258.13 |  | 2.7265
1107 | Water Survey Research Center #4 | 11158.25 |  | 3.6839
1108 | Water Survey Research Center #5 | 11040.18 |  | 3.645
1109 | Water Survey Research Center #6 | 11046.16 |  | 3.6469
1110 | Water Survey Research Center #7 | 3142.67 |  | 1.0376
1111 | Water Survey Research Center #8 | 5163.06 |  | 1.7046
1112 | Water Survey Research Center #9 | 5580 |  | 1.8423
1114 | 1108 W. Stoughton | 4383.82 |  | 1.4473
1133 | Christopher Hall | 26172.75 |  | 8.6411
1137 | C-10 Parking Structure | 116448.81 |  | 38.4461
1139 | Water Survey Shop & Equip. Bldg #11 | 17785.45 |  | 5.8719
1145 | Asian American House | 6931.5 |  | 2.2885
1169 | Exposure Reductn Hsng Unit Trailer A | 0 |  | 0
1170 | Exposure Reductn Hsng Unit Trailer B | 0 |  | 0
1171 | FSI - Hazmat Storage Building | 2099 |  | 0.69299
1172 | FSI - Storage Building | 3840 |  | 1.2678
1173 | FSI - Fire Apparatus Storage Building | 3600 |  | 1.1886
1174 | FSI - Two Story Burn Building | 1891 |  | 0.62432
1175 | FSI - Residential Burn Building | 1397 |  | 0.46123
1177 | FSI - Filter House | 256 |  | 0.08452
1178 | FSI - South Storage Building | 1440 |  | 0.47542
1183 | FSI - Arson Training Laboratory A | 385.75 |  | 0.12736
1184 | FSI - Arson Training Laboratory B | 385.75 |  | 0.12736
1185 | FSI - Arson Training Laboratory C | 385.75 |  | 0.12736
1186 | FSI - Arson Training Laboratory D | 385.75 |  | 0.12736
1187 | Indoor Golf Facility | 15262.32 |  | 5.0389
1206 | Business Instructional Facility | 162250.5 |  | 53.5677
1209 | Engineering Student Project Laboratory | 7335.5 |  | 2.4218
1214 | Conference Center | 37960.14 |  | 12.5327
1217 | Ashton Woods Apartments Office | 1104 |  | 0.36449
1218 | Ashton Woods Apartments | 10873.85 |  | 3.5901
1219 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1220 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1221 | Ashton Woods Apartments | 10874.52 |  | 3.5903
1222 | Ashton Woods Apartments | 10874.57 |  | 3.5903
1223 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1224 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1225 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1226 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1227 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1228 | Ashton Woods Apartments | 10888.52 |  | 3.5949
1229 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1230 | Ashton Woods Apartments | 10874.58 |  | 3.5903
1232 | Shelford Vivarium Greenhouse | 1440 |  | 0.47542
1233 | Integrated Bioprocessing Laboratory | 0 |  | 0
1244 | National Petascale Computing Facility | 94377.11 |  | 31.159
1247 | Ikenberry Dining Hall | 139556.55 |  | 46.0752
1248 | Timothy J. Nugent Hall | 115517.3 |  | 38.1386
1249 | Ikenberry Commons-Wassaja Hall | 0 |  | 0
1252 | Bousfield Hall | 186114.33 |  | 61.4465
1261 | FSI - Learning Resource Research Center | 21658.8 |  | 7.1508
1263 | MCFARLAND CARILLON | 0 |  | 0
1268 | Robert A. Evers Laboratory | 23862.03 |  | 7.8782
1269 | EICHELBERGER FIELD - CONCESSIONS | 1435.56 |  | 0.47396
1270 | EICHELBERGER FIELD - LOCKER ROOM | 3511.81 |  | 1.1594
1283 | Illinois Field-Concessions | 0 |  | 0
1284 | Illinois Field-Locker Room | 0 |  | 0
1293 | Littelfuse Generator Building | 0 |  | 0
1494 | Center for Wounded Veterans in Higher Education | 0 |  | 0
1502 | Grounds Shed | 0 |  | 0
1516 | Grounds Shed | 0 |  | 0
8254 | CHEM LIFE SCIENCE CHILLER PLANT | 0 |  | 0
8256 | DISTRIBUTION CENTER #10 (MAINT) | 0 |  | 0
8258 | MAIN CAMPUS SUBSTATION (LOC W. OF REHAB) | 0 |  | 0
8259 | SOUTHEAST CAMPUS SUBSTATION (E. MEATSCI) | 0 |  | 0
8280 | DIST CENTER #11 ADJACENT TO VET MED CHLR | 0 |  | 0
8283 | Oak Street Chiller Plant | 44799.15 |  | 14.7906
8286 | VERIZON CELL SITE | 0 |  | 0
8316 | TES Pump House | 0 |  | 0

## LED data
CAMPUS EXIT LIGHTING REPLACED WITH LED EXIT LIGHTING (for FY14 and FY15)
BUILDING NAME | Bld Number | total LED exit lights | # OF EXIT LIGHTS REPLACED W LED KIT | # OF BATTERY BACK-UP EXIT LIGHTS | # OF AC ONLY EXIT LIGHTS | added Exit Lights | DATE BLD WAS COMPLETED | GSF | Avg GSF (for these buildings) | Avg # of LED per building | Avg # LEDs per GSF
ACB | 17 | 22 | 12 | 0 | 10 | 0 | 2015-05-13 | 45345.67 | 165680 | 54.7 | 0.00033015
MEL | 29 | 38 | 0 | 0 | 38 | 0 | 2015-06-22 | 151859.99
Main Library | 41 | 100 |  | 41 | 59 |  | 2014-05-30 | 562532.01
Henry Administration | 46 | 56 | 0 | 43 | 0 | 13 | 2015-02-04 | 160497.37
Chem-Life | 70 | 98 |  | 0 | 98 |  | 2014-06-06 | 231315.61
Roger Adams Lab | 116 | 61 |  | 61 | 0 |  | 2014-03-10 | 268297.2
NSRC | 124 | 53 | 0 | 52 | 0 | 1 | 2015-01-15 | 98854.71
Burrill Hall | 138 | 16 | 0 | 0 | 16 | 0 | 2015-05-08 | 171832.06
Law Building | 156 | 92 | 58 | 2 | 15 | 17 | 2015-03-30 | 189729.5
Education Bld | 160 | 41 |  | 41 | 0 |  | 2014-07-23 | 94058.82
Animal Science | 165 | 46 |  | 46 | 0 |  | 2014-03-07 | 149211.07
Engineering Science | 174 | 37 |  | 0 | 37 |  | 2014-03-10 | 107724.33
Turner | 197 | 51 |  | 51 | 0 |  | 2014-03-24 | 180003
PPSB | 198 | 30 | 0 | 22 | 0 | 8 | 2015-02-18 | 162882.92
ISTC | 206 | 37 | 21 | 0 | 16 | 0 | 2015-06-20 | 52887.2
Grainger Library | 224 | 42 |  | 0 | 42 |  | 2014-03-04 | 126838.23
Beckman | 228 | 126 | 117 | 0 | 6 | 3 | 2015-04-23 | 357599.89
Publlic Safety | 323 | 25 | 0 | 0 | 22 | 3 | 2015-05-29 | 20729.24
Madigan Lab | 336 | 62 | 0 | 62 | 0 | 0 | 2015-05-06 | 171007.02
Water Survey | 1104 | 61 | 0 | 7 | 51 | 3 | 2015-04-14 | 10403.8